Document for completion and publication by the Contracting Authority.

WORKS PROCUREMENT NOTICE

Construction works in border crossing points Dobrakovo and Dracenovac (Serbian Border)

Montenegro

Publication reference

08ME1.13.01

Procedure

Local Open Procedure

Programme

IPA 2008

Financing

IPA 2008 National Programme, BGUE-B2008-22.020200-C1-ELARG DELMNE

Contracting Authority

The European Union, represented by the European Commission, itself represented by the Delegation of the European Union to Montenegro, for and on behalf of the government of Montenegro

CONTRACT SPECIFICATIONS

Description of the contract

Dobrakovo:

In the zone of the actual border crossing, the number of traffic lanes has been increased, so that, at the point of entry in Montenegro, two lanes for passenger traffic and two lanes for freight vehicles shall be provided and, at the point of exit from Montenegro, two lanes for passenger traffic and one lane for freight vehicles. Each lane shall be provided with an island, which shall accommodate the control points, so that holdup of vehicles at the border crossing is minimized.

The width of the traffic lanes shall be 3.5 m, and the islands have been designed to be 1.65 m wide and l=20.35m long. A total of 6 divisional islands have been designed.

The lacking number of lanes has been obtained by retracting of the crossing into the hill (in view of the vicinity of the River Lim on the opposite side of the crossing), whereby care was taken to ensure the required lengths of the lanes longitudinally in the zone of the administrative building and the canopy by the layout concept.

In front of the border crossing from the direction of Bijelo Polje, two traffic lanes have been added, one for passenger traffic 190 m long, and the other for freight vehicles, 168 m long (full width of the lane). The length does not include the length of the island.

From the direction of Prijepolje, where the biggest holdup at the actual crossing has been identified, two lanes for passenger traffic and two lanes for freight vehicles have been designed, whereby the additional lane for freight vehicles has been designed, 345 m long.

Dracenovac:

In the zone of the actual border crossing, the number of traffic lanes has been retained, so that one lane for passenger traffic and one lane for trucks is provided at the entry into Montenegro and, at the exit from Montenegro, one lane for passenger traffic and one lane for trucks.

The canopy in front of the administrative building that covers all the four traffic lanes has been retained.

The existing weighbridge at the entry into Montenegro has been fully retained as well as the canopy over the weighbridge.

The total length of the road covered by the reconstruction is 408.58 m.

The designed length of the lanes has been obtained by retracting the crossing into the hill (in view of the vicinity of the River Ibar) in the side opposite from the River.

Next to the border crossing from the direction of Rožaje, one traffic lane has been added for freight vehicles along the length of around 130 m.

From the direction of Kosovska Mitrovica, one lane has been designed for freight vehicles along the length of 90 m.

Radiuses of horizontal curves shall be close to the radiuses on the existing road and shall be  R = 110 m to R = 200 m.

Number and titles of lots

One

TERMS OF PARTICIPATION

Eligibility and rules of origin

Participation is open to all legal persons [participating either individually or in a grouping (consortium) of tenderers] which are established in a  Member State of the European Union or in a country or territory  of the regions covered and/or authorised by the  specific instruments applicable to the programme under which the contract is financed (see also heading 22 below). All works, supplies and services under this contract must originate in one or more of these countries. Participation is also open to international organisations. The participation of natural persons is directly governed by the specific instruments applicable to the programme under which the contract is financed.

Grounds for exclusion

Tenderers must submit a signed declaration, included in the Tender Form for a Works Contract, to the effect that they are not in any of the situations listed in point 2.3.3 of the Practical Guide to contract procedures for EC external actions.

Number of tenders

Tenderers may submit only one tender per lot. Tenders for parts of a lot will not be considered. Any tenderer may state in its tender that it would offer a discount in the event that its tender is accepted for more than one lot. Tenderers may not submit a tender for a variant solution in addition to their tender for the works required in the tender dossier.

Tender guarantee

Tenderers must provide a tender guarantee of 45,000.00 Euros when submitting their tender. This guarantee will be released to unsuccessful tenderers once the tender procedure has been completed and to the successful tenderer(s) upon signature of the contract by all parties.

Performance guarantee

The successful tenderer will be asked to provide a performance guarantee of 10% of the amount of the contract at the signing of the contract. This guarantee must be provided together with the return of the countersigned contract no later than 30 days after the tenderer receives the contract signed by the Contracting Authority. If the selected tenderer fails to provide such a guarantee within this period, the contract will be void and a new contract may be drawn up and sent to the tenderer which has submitted the next cheapest compliant tender.

Information meeting and/or site visit

An optional information meeting will be held on 3rd February 2010 at 10:00 h, in the European Union Delegation premises (address indicated in item 18 hereunder).

No site visit foreseen.

Tender validity

Tenders must remain valid for a period of 90 days after the deadline for submission of tenders.

Period of implementation of tasks

Time period envisaged for implementation of this contract is 12 months.

SELECTION AND AWARD CRITERIA

Selection criteria

The selection criteria for each tenderer are as follows (in case of tenders submitted by a consortium, these selection criteria will be applied to the consortium as a whole):

- The tenderer must be a legal person duly registered in accordance with its national law and/or accordingly authorized to carry out the specified works.

- Economic and financial standing of the tenderer (in case of tenders submitted by a consortium, these selection criteria will be applied to the consortium as a whole):

- The average annual turnover of the tenderer for the 3 most recent financial years (2006, 2007, 2008), for which the accounts are closed, must be at least 2 times the discounted (if applicable) financial proposal. Average annual turnover = (turnover 2006 + turnover 2007 + turnover 2008)/3

- The tenderer must demonstrate liquid financial resources for financing the works in the amount of not less than 1.000.000,00 (one million) euro.

- Professional and technical capacity of tenderer:

a)	Experience in at least 3 (three) projects of civil construction works over the last 5 (five) years. In at least one of the above projects the following works should have been completed:

- Earthworks including excavation and filling works in mountain conditions

- Retaining walls

- High and/or low voltage works

- Roads, streets or parking areas with asphalt pavement

b)	all its key personnel proposed for Project Manager/Contractor's Representative and Site Managers must have at least 5 years' appropriate experience and proven qualifications relevant to works of a similar nature to this project.

Award criteria

Price

TENDERING

How to obtain the tender dossier

The tender dossier is available from the following Internet address: http://www.delmne.ec.europa.eu. The tender dossier is also available from the Contracting Authority.

Tenders must be submitted using the standard tender form included in the tender dossier, whose format and instructions must be strictly observed.

## Tenderers with questions regarding this tender should send them in writing to:

## Delegation of the European Union to Montenegro

## Danijela Ralevic

## Vuka Karadzica 12

81000 Podgorica, Montenegro

## Fax. +382 20 444 666

## E-mail: danijela.ralevic@ec.europa.eu

(mentioning the publication reference shown in item 1) at least 21 days before the deadline for submission of tenders given in item 19. The Contracting Authority must reply to all tenderers' questions at least 11 days before the deadline for submission of tenders. Eventual clarifications or minor changes to the tender dossier will be published at the latest 11 days before the submission deadline on the Delegation of the European Union to Montenegro website http://www.delmne.ec.europa.eu.

Deadline for submission of tenders

10:00 Central European Time on 1st March 2010.

Any tender received after this deadline will not be considered.

Tender opening session

11:00 Central European Time on 1st March 2010, in the premises of European Union Delegation to Montenegro (address indicated in item 18 above).

Language of the procedure

All written communications for this tender procedure and contract must be in English.

Legal basis

Council Regulation (EC) No 1085/2006 of 17 July 2006 establishing the Instrument for Pre-Accession Assistance (IPA). (OJ L 210 of 31/07/2006).