**Annex A – financial tender**

Framework contract for the provision of painting services for the EU Delegation to Bosnia and Herzegovina, Tender no EEAS-DELBIHS-S1.4-FWC-2016-09

**Unit price schedule in Bosnia and Herzegovina Convertible Mark (BAM)**

|  |  |  |  |
| --- | --- | --- | --- |
| **Item** | **Description** | **Type of unit** | **Unit price in Bosnia and Herzegovina Convertible Mark (BAM) VAT free** |
| A | EUD Sarajevo premises, PAINT SYSTEM 1  Supply, delivery and painting, including preparatory works and transportation of waste material  Painting of walls and ceilings (where applicable) in all areas of EUD premises, except in toilets on 1-5 floors and lobby area in front of elevators in two (2) coats using **synthetic latex paint in matt finish** over 1 coat of primer, including surface preparation  Colours: subject of EUD approval | m2 |  |
| B | EUD Sarajevo premises, PAINT SYSTEM 2  Supply, delivery and painting, including preparatory works and transportation of waste material  Painting of walls in toilets and lobby area in front of elevators on 1-5 floor: in two (2) coats using **acrylic resin dispersion paint** in silk-matt finish over 1 coat of primer, including surface preparation  Colours: subject of EUD approval | m2 |  |
| C | EUD Sarajevo premises PAINT SYSTEM 3  Supply, delivery and painting, including preparatory works and transportation of waste material  Painting of suspended ceiling textured tiles in all area: in two (2) coats using **synthetic latex paint in dead matt finish** over 1 coat of primer, including surface preparation  Colours: subject of EUD approval | m2 |  |
| D | EUD Sarajevo premises, PAINT SYSTEM 4  Supply, delivery and painting, including preparatory works and transportation of waste material  Painting of suspended ceiling metal frame using **polyurethane-acryl dispersion paint in satin gloss or gloss** **finish** including surface preparation.  Colours: subject of EUD approval | m2 |  |
| E | EUD Sarajevo premises, PAINT SYSTEM 5  Supply, delivery and painting, including preparatory works and transportation of waste material  Painting of walls, ceilings and pillars in garage space: in two (2) **coats silicon resin + acryl dispersion paint in matt finish** over 1 coat of primer, including surface preparation  Colours: subject of EUD approval | m2 |  |
| F | HoD premises, PAINT SYSTEM 1  Supply, delivery and painting, including preparatory works and transportation of waste material  Painting of walls and ceilings in all areas of houses and apartments in two (2) coats using **synthetic latex paint in matt finish** over 1 coat of primer, including surface preparation  Colours: subject of EUD approval |  |  |
| G | ADDITIONAL PAINTING SERVICES  Labour force cost for supply, delivery and painting of surfaces not foreseen in tender specification, including preparatory works and transportation of waste material  (Painting material cost will be invoiced separately subject of EUD prior approval) | m2 |  |

**Name of tenderer:**

**Name of the legal representative of the tenderer:**

**Date: Signature:**

**Annex B – financial tender**

Framework contract for the provision of painting works for the EU Delegation to Bosnia and Herzegovina, Tender no EEAS-DELBIHS-S1.4-FWC-2016-09

**Price scenario over the duration of the contract in BAM**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item** | **Description** | **Type of unit** | **Estimated number of units** | **Estimated number of units over maximum duration of the contract** | **Unit price in BiH Convertible Mark (BAM)** | **Total price in BiH Convertible Mark (BAM)** |
| **1** | **2** | **3** | **4** | **5** | **6** | **7 = 5 x 6** |
| A | PAINT SYSTEM 1-EUD SA-walls and ceilings (where applicable) in all areas of EUD except in toilets on 1-5 floors and lobby in front of elevators  Supply, delivery and painting, including preparatory works and transportation of waste material | m2 | **10975** | **10975** |  |  |
| B | PAINT SYSTEM 2-EUD SA-walls in toilets and lobby in front of elevators  Supply, delivery and painting, including preparatory works and transportation of waste material | m2 | **370** | **370** |  |  |
| C | PAINT SYSTEM 3-EUD SA-suspended ceiling tiles in all areas of EUD  Supply, delivery and painting, including preparatory works and transportation of waste material | m2 | **3845** | **3845** |  |  |
| D | PAINT SYSTEM 4-EUD SA- suspended ceiling metal frame  Supply, delivery and painting, including preparatory works and transportation of waste material | m2 | **1080** | **1080** |  |  |
| E | PAINT SYSTEM 5-EUD SA-walls, ceilings and pillars in garage space  Supply, delivery and painting, including preparatory works and transportation of waste material | m2 | **3285** | **3285** |  |  |
| F | PAINT SYSTEM 1-HoD Residence  Supply, delivery and painting, including preparatory works and transportation of waste material | m2 | **1990** | **3980** |  |  |
| G | ADDITIONAL PAINTING SERVICES  Labour force cost and including equipment for supply, delivery and painting of surfaces not foreseen in tender specification, including preparatory works and transportation of waste material  (Painting Material to be invoiced separately subject of EUD prior approval) | m2 | **1000** | **1000** |  |  |
| H | ADDITIONAL PAINTING SERVICES MATERIAL COST (subject of EUD prior approval)[[1]](#footnote-1) | Lump-sum |  |  |  | 10000 |
| **TOTAL** | **VAT Free** |  | | | |  |

The price "scenario" is an estimate by the contracting authority of the quantities of the services over the duration of the contract in order to compare the financial tenders. When filling in this table, tenderers shall fill in column 6 the unit prices. Tenderers will carefully calculate the total in column 7. They will do so for each item, they will not add, suppress or modify any item. Failing this, their tender will be eliminated.

**Name of tenderer:**

**Name of the legal representative of the tenderer:**

**Date: Signature:**

1. The cost of painting material necessary for execution of additional painting works shall be based on the prior approval of costs as defined in the Tender specification Article 6.3.8 Additional/not foreseen paintings. The maximum amount must be introduced in price scenario as defined and must not be changed [↑](#footnote-ref-1)